## Slide 1: Fluocell Demo
Qin Qin

## Slide 2
Fluocell GUI
Step 1: close current MATLAB and use Fluocell to call out MATLAB

## Slide 3
Fluocell GUI
Step 2: adjust the setting on the fluocell interface:
In which cycle you add stimulus, e.g. pdgf
Proper setting on this two window will give a better hint on viewing
0 – no background subtraction
1 – manually choose background
2 – automatically choose background
0 – no quantification
1 – quantification on fixed ROI
2 – quantification on tracking ROI
3 – quantification on subcellular scale
FRET: normal use;
FRET-Intensity: FRET + another intensity(e.g. MCherry) channel
FRET-DIC: FRET + DIC channel
If you want to save ratio images

## Slide 4
Fluocell demo
1.0
[1 : 50]

## Slide 5: Visualize the ECFP/FRET Ratio Images

## Slide 6: Visualize the ECFP/FRET Ratio Images

## Slide 7: Quantification Using Regions of Interest (ROIs)

## Slide 8: Quantification Using Regions of Interest (ROIs)

## Slide 9: Quantification Through Cropped Image
* Whole cell detection used here, ROI is also available

## Slide 10: Multiple Quantification Through Whole Group

## Slide 11: Multiple Quantification Through Whole Group
>> fluocell_data.num_layers = 3;
>> group = g2p_init_data(fluocell_data, 'group_data', []);
g2p_init_data: Update from fluocell_data since there is no input of group data or the data file.
g2p_init_data: Please make sure the fluocell is reading images from the p1 position.
pdgf time = 643.100000

## Slide 12: Multiple Quantification Through Whole Group
>> group_image_view(group, 'time_point', [1 15 30 45])
‘group’ data structure as a main input
Parameter given by the user, which are the time points to check

## Slide 13: Multiple Quantification Through Whole Group

## Slide 14: Multiple Quantification Through Whole Group
>> g2p_quantify(group, 'show_figure', 0);

## Slide 15: Multiple Quantification Through Whole Group
>> group_plot(group,'method',3, 'save_excel_file', 1, 'sheet_name', 'Cytosolic', 'tag_curve', 1);

## Slide 16: Multiple Quantification Through Whole Group
Message on the command window of MATLAB:
The positions chosen here are p17 and p8, Do you want to delete them? Y/N [N]: y
Fast and accurately locate the bad curves based on the group plot
Interaction between user and Fluocell
Y or y, Fluocell will help move the whole position to the output folder parallel to positions (not really delete the information)
N or n, nothing changed

## Slide 17: Multiple Quantification Through Whole Group

## Slide 18: Multiple Quantification Through Whole Group

## Slide 19: Multiple Quantification Through Whole Group
group_make_movie(group, 'color_bar', 1, 'position', 'p1', 'stimulus_info', 'pdgf', 'intensity_bound', [200, 1000]);

## Slide 20: Multiple Quantification Through Whole Group
>> group_compare( group,'excel_file', 'fluocell-data.xlsx', 'error_bar_interval', 3, 'statistics','t-test', 'time_range', [20, 35], 'group_name', {'Cytosolic', 'Membrane'}, 'enable_violin_plot', 1);
Mean Ratio +/- Standard Error
For group Cytosolic(n = 30), 1.8139 +/- 0.0092795
For group Membrane(n = 37), 1.521 +/- 0.0037689
There is significant difference between Cytosolic and Membrane.
The p value is 4.6839e-07.
Mean Time +/- Standard Error
For group Cytosolic(n = 30),12.81 +/- 0.12711
For group Membrane(n = 37),21.3919 +/- 0.2292
There is significant difference between Cytosolic and Membrane.
The p value is 2.7984e-06.
Peak Ratio +/- Standard Error
For group Cytosolic(n = 30), 1.9917 +/- 0.0087202
For group Membrane(n = 37), 1.5704 +/- 0.0037993
There is significant difference between Cytosolic and Membrane.
The p value is 5.2375e-12.

## Slide 21: Multiple Quantification Through Whole Group

## Slide 22: Multiple Quantification Through Whole Group

## Slide 23: Multiple Quantification Through Whole Group

## Slide 24: Multiple Quantification Through Whole Group